## RO-PX-AD
RO-PX |  |  | Economic Analysis of CCPP
HPP+Booster | 2358.97 | 970.7937
PX | 970.7937 | 2316.67
AD | 0 | 42.3011 |  |  | NPV | PBP | ARR | PI
| 1.3882 |  | 881.7686 | Standard
Technical input data | Value | Unit | 90.8443 | RO with ERT
RO Capicity | 1000.26 | m3/h | 972.613 | RO with PX
Electricity | 0.972 | MW |  | RO-PX-AD | 115.9132 | 0.84314 | 82.5654 | 566.1574
steam consumption |  | t/y
Gas conumsption for each GT
Economic input data | Value | Unit
Electricity price | 0.08 | £/kWh | The cost assumed to Ghaffour et al 2013 which estimated by$1500/m3
Water Price | 1.6 | (£/m3)
Discount Rate | 0.05 | %
Book Life | 16 | Years
Availability | 7920 | hrs
Operation & Maintanance Cost | 0.08 | (£/m3) | RO Capital Cost | 14.4
|  |  | note// added cost of PX | 0.083494
Economic Model Outcomes | Value | Unit | note//added cost of Booster | 0.083494 | main O&P | 0.08
RO Capital Cost | 14.5835 | M£ | note// added cost of AD | 0.01649 | PX e O&P | 0.01 | 0.09
NPV | 115.9132 | M£ |  |  | Booster pump | 2.7565e-11
PBP | 0.84314 | Years |  |  | AD | 0.09
ARR | 82.5654 | % |  |  | Total O&M | 0.18 |  |  | -2.5426
PI | 566.1574 | %
Pumps
Year | Capital Cost (M$) | Water Sold (m3/y) | Revenue Profit (M$) | electrical consumed (kWh) | electrical Cost (M$) |  | Maintanance Cost and operation (M$) | Depreciation (M$) | Net Cash Flow (M$) | Discounted Factor | Discounted Cash Flow (M$) | Commulative Discounted Cash Flow (M$)
0 | -14.5835 | 0 | 0 | 0 | 0 |  | 0 | 0 | -14.5835 | 1 | -14.5835 | -14.5835
1 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 1.05 | 11.4675 | -3.1159
2 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 1.1025 | 10.9215 | 7.8055
3 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 1.1576 | 10.4014 | 18.2069
4 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 1.2155 | 9.9061 | 28.113
5 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 1.2763 | 9.4344 | 37.5474
6 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 1.3401 | 8.9851 | 46.5325
7 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 1.4071 | 8.5573 | 55.0897
8 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 1.4775 | 8.1498 | 63.2395
9 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 1.5513 | 7.7617 | 71.0012
10 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 1.6289 | 7.3921 | 78.3933
11 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 1.7103 | 7.0401 | 85.4333
12 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 1.7959 | 6.7048 | 92.1382
13 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 1.8856 | 6.3856 | 98.5237
14 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 1.9799 | 6.0815 | 104.6052
15 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 2.0789 | 5.7919 | 110.3971
16 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 2.1829 | 5.5161 | 115.9132
17 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 2.292 | 5.2534 | 121.1666
18 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 2.4066 | 5.0032 | 126.1698
19 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 2.527 | 4.765 | 130.9348
20 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 2.6533 | 4.5381 | 135.4729
21 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 2.786 | 4.322 | 139.7949
22 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 2.9253 | 4.1162 | 143.9111
23 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 3.0715 | 3.9202 | 147.8313
24 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 3.2251 | 3.7335 | 151.5648
25 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 3.3864 | 3.5557 | 155.1205
26 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 3.5557 | 3.3864 | 158.5069
27 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 3.7335 | 3.2251 | 161.732
28 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 3.9201 | 3.0716 | 164.8036
29 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 4.1161 | 2.9253 | 167.7289
30 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 4.3219 | 2.786 | 170.5149
31 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 4.538 | 2.6533 | 173.1682
32 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 4.7649 | 2.527 | 175.6952
33 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 5.0032 | 2.4066 | 178.1018
34 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 5.2533 | 2.292 | 180.3939
35 | 0 | 7922059.2 | 12.6753 | 7698.24 | -0.00061586 |  | -0.63376 | -0.91147 | 12.0409 | 5.516 | 2.1829 | 182.5768

## calculation
| NPV | PBP | ARR | PI
Standard RO | 48.6787 | 2.193 | 49.4891 | 343.6745
RO-ERT | 105.1728 | 1.0003 | 75.8773 | 521.1352
RO-PX | 116.7528 | 0.82996 | 83.1803 | 571.0192
RO-PX-AD | 115.9132 | 0.84314 | 82.5654 | 566.1574
PBP
Standard RO | 2.193
RO-ERT | 1.0003
RO-PX | 0.82996
RO-PX-AD | 0.84314
ARR
Standard RO | 49.4891
RO-ERT | 75.8773
RO-PX | 83.1803
RO-PX-AD | 82.5654 | 77.1314 | 528.8959
PI
Standard RO | 343.6745
RO-ERT | 521.1352
RO-PX | 571.0192
RO-PX-AD | 566.1574
effect of period of time on PBP and NPV for AD plant
| NPV | PBP |  | PBP
16 | 107.3246 | 0.96874 |  | 1.4187
20 | 125.597 | 0.59458 |  | 1.0834
25 | 140.6298 |  |  | 0.51666
30 | 125.3404
35 | 134.4585
140.6298
year | PBP |  | 0.11341
16 | 0.96874
20 | 0.59458
25 | 0.11341