## Onsite analysis
|  |  | Measured data | [5 empty] | Corrected data
| Sampling date | Sampling time | Temperature | pH | Conductivity | Salinity | TDS | DO | Temperature | pH | Conductivity | Salinity | TDS | DO
|  |  | C |  | uS/cm | mg/L | mg/L | mg/L | C |  | uS/cm | mg/L | mg/L | mg/L
RiverUp | 2021-10-06 | 8:40 | 10.3 | 7.74 | 666 | 318 | 465 | 9.15 | 10.3 | 7.3095 | 610.0518 | 291.7755 | 426.2198 | 9.15
KPStDrain | 2021-10-06 | 8:48 | 12.8 | 8.16 | 815 | 396 | 570 | 9.55 | 12.8 | 7.7478 | 746.3253 | 363.1133 | 522.2514 | 9.55
GPStDrain | 2021-10-06 | 9:05 | 13.3 | 8.1 | 840 | 410 | 588 | 9.54 | 13.3 | 7.6852 | 769.19 | 375.9175 | 538.714 | 9.54
PondEff | 2021-10-06 | 9:15 | 10.4 | 7.87 | 390 | 186 | 273 | 7.52 | 10.4 | 7.4452 | 357.6257 | 171.05 | 250.6191 | 7.52

## Probe Calibration
Standard pH | Extech probe pH | Standard Conductivity | Extech probe conductivity
[-] | [-] | uS | uS
4 | 4.58 | 0 | 0
7 | 7.42 | 12.88 | 13.09
10 | 10.33 | 84 | 89.7
|  | 1413 | 1544
Slope | 1.0434 |  | 0.91459
Intercept | -0.76657 |  | 0.93677

## Basic Water Chemistry
| Sampling date | Sampling time | Ammonium-N (LCK304) | Nitrate-N (LCK339) | Nitrite-N (LCK341) | Ortho-P (LCK349) | Fluoride (LCK323) | Alkalinity | Turbidity
|  |  | mg/L | mg/L | mg/L | mg/L | mg/L | mg CaCO3/L | NTU
RiverUp | 2021-10-06 | 8:40 | 0.119 | 5.73 | 0.107 | 0.255 | under range | 107 | 70.1
RiverUp | 2021-10-06 | 8:40 | 0.118 | 5.74 | 0.088 | 0.254 | under range | 85 | 68.4
RiverUp | 2021-10-06 | 8:40 | 0.124
KPStDrain | 2021-10-06 | 8:48 | 0.144 | 4.3 | 0.024 | 0.211 | under range | 162 | 7.95
KPStDrain | 2021-10-06 | 8:48 | 0.137 | 4.27 | 0 | 0.212 | under range | 128 | 8.15
KPStDrain | 2021-10-06 | 8:48 | 0.124
GPStDrain | 2021-10-06 | 9:05 | 0.025 | 5.74 | 0.027 | 0.16 | under range | 122 | 3.91
GPStDrain | 2021-10-06 | 9:05 | 0.032 | 5.7 | 0.031 | 0.165 | under range | 104 | 3.92
GPStDrain | 2021-10-06 | 9:05 | 0.041
PondEff | 2021-10-06 | 9:15 | 0.122 | 2.72 | 0.08 | 0.424 | under range | 64 | 95.4
PondEff | 2021-10-06 | 9:15 | 0.118 | 2.75 | 0.077 | 0.439 | under range | 63 | 94
PondEff | 2021-10-06 | 9:15 | 0.123
Average
RiverUp |  |  | 0.12033 | 5.735 | 0.0975 | 0.2545 |  | 96 | 69.25
KPStDrain |  |  | 0.135 | 4.285 | 0.012 | 0.2115 |  | 145 | 8.05
GPStDrain |  |  | 0.032667 | 5.72 | 0.029 | 0.1625 |  | 113 | 3.915
PondEff |  |  | 0.121 | 2.735 | 0.0785 | 0.4315 |  | 63.5 | 94.7
Stdev
RiverUp |  |  | 0.0032146 | 0.0070711 | 0.013435 | 0.00070711 |  | 15.5563 | 1.2021
KPStDrain |  |  | 0.010149 | 0.021213 | 0.016971 | 0.00070711 |  | 24.0416 | 0.14142
GPStDrain |  |  | 0.0080208 | 0.028284 | 0.0028284 | 0.0035355 |  | 12.7279 | 0.0070711
PondEff |  |  | 0.0026458 | 0.021213 | 0.0021213 | 0.010607 |  | 0.70711 | 0.98995
Ttest RiverUp vs KPStDrain |  |  | 0.075476

## Conventional Microbiology
in 0.5 mL sample
| Faecal coliform | FC/100 mL | log FC/100 mL | Avg | Stdev
RiverUp | 23 | 4600 | 3.6628
RiverUp | 31 | 6200 | 3.7924
RiverUp | 30 | 6000 | 3.7782 | 3.7444 | 0.071091
KPStDrain | 94 | 18800 | 4.2742
KPStDrain | 70 | 14000 | 4.1461
KPStDrain | 63 | 12600 | 4.1004 | 4.1736 | 0.090081
GPStDrain | 86 | 17200 | 4.2355
GPStDrain | 46 | 9200 | 3.9638
GPStDrain | 70 | 14000 | 4.1461 | 4.1151 | 0.13849
PondEff | 16 | 3200 | 3.5051
PondEff | 15 | 3000 | 3.4771
PondEff | 15 | 3000 | 3.4771 | 3.4865 | 0.016182
Blank | 0 | 0 | #REF!
Blank | 0 | 0 | #REF!
Average
RiverUp |  |  | 3.7444
KPStDrain |  |  | 4.1736
GPStDrain |  |  | 4.1151
PondEff |  |  | 3.4865
Stdev
RiverUp |  |  | 0.071091
KPStDrain |  |  | 0.090081
GPStDrain |  |  | 0.13849
PondEff |  |  | 0.016182