## DNA yields
Instrument | Filter | Volume filtered | DNA Con. | Volume | Yield | DNA yield from water | Avg | Stdev
|  | (mL) | (ng/uL) | (uL) | (ng) | (ng/100 mL)
Ribolyser | 1 | 300 | 8.41 | 100 | 841 | 280.3333
Ribolyser | 2 | 300 | 7.04 | 100 | 704 | 234.6667
Ribolyser | 3 | 300 | 3.96 | 100 | 396 | 132 | 215.6667 | 75.97
Vortex | 4 | 300 | 4.29 | 100 | 429 | 143
Vortex | 5 | 300 | 4.7 | 100 | 470 | 156.6667
Vortex | 6 | 300 | 3.07 | 100 | 307 | 102.3333 | 134 | 28.2627
Vortex+lysozyme | 7 | 300 | 4.52 | 100 | 452 | 150.6667
Vortex+lysozyme | 8 | 300 | 5.53 | 100 | 553 | 184.3333
Vortex+lysozyme | 9 | 300 | 5.71 | 100 | 571 | 190.3333 | 175.1111 | 21.381

## 16S portable
Well | Methods | Filter | Replicate | Sample | Cq | Calculated Genes | Water filtration volume | DNA Vol | DNA dilution for qPCR | Gene Con. in water | Log10 Gene Con. in water | Avg | Stdev
[6 empty] | gene copies/uL | mL | uL | times | gene copies/100mL | log10 gene copies/100mL
22 |  |  |  | NTC1 | 28.32 | 6.45
23 |  |  |  | NTC2 | 27.81 | 9.128
24 |  |  |  | NTC3 | 27.8 | 9.142
25 | Ribolyser | 1 | a | 1 | 12.05 | 414700 | 300 | 100 | 10 | 138233333.3333 | 8.1406
26 | Ribolyser | 1 | b | 1 | 12.07 | 409700 | 300 | 100 | 10 | 136566666.6667 | 8.1353 | 8.138 | 0.0037251
27 | Ribolyser | 2 | a | 2 | 14.43 | 82110 | 300 | 100 | 10 | 27370000 | 7.4373
28 | Ribolyser | 2 | b | 2 | 12 | 428500 | 300 | 100 | 10 | 142833333.3333 | 8.1548 | 7.7961 | 0.50739
29 | Ribolyser | 3 | a | 3 | 12.98 | 219700 | 300 | 100 | 10 | 73233333.3333 | 7.8647
30 | Ribolyser | 3 | b | 3 | 13.05 | 209400 | 300 | 100 | 10 | 69800000 | 7.8439 | 7.8543 | 0.014746
31 | Vortex | 4 | a | 4 | 13.04 | 211600 | 300 | 100 | 10 | 70533333.3333 | 7.8484
32 | Vortex | 4 | b | 4 | 13.05 | 209400 | 300 | 100 | 10 | 69800000 | 7.8439 | 7.8461 | 0.0032095
33 | Vortex | 5 | a | 5 | 12.65 | 276600 | 300 | 100 | 10 | 92200000 | 7.9647
34 | Vortex | 5 | b | 5 | 12.68 | 270800 | 300 | 100 | 10 | 90266666.6667 | 7.9555 | 7.9601 | 0.0065079
35 | Vortex | 6 | a | 6 | 13.39 | 166900 | 300 | 100 | 10 | 55633333.3333 | 7.7453
36 | Vortex | 6 | b | 6 | 13.33 | 173300 | 300 | 100 | 10 | 57766666.6667 | 7.7617 | 7.7535 | 0.011556
37 | Vortex+lysozyme | 7 | a | 7 | 13.36 | 170600 | 300 | 100 | 10 | 56866666.6667 | 7.7549
38 | Vortex+lysozyme | 7 | b | 7 | 13.49 | 155800 | 300 | 100 | 10 | 51933333.3333 | 7.7154 | 7.7352 | 0.027868
39 | Vortex+lysozyme | 8 | a | 8 | 13.02 | 215000 | 300 | 100 | 10 | 71666666.6667 | 7.8553
40 | Vortex+lysozyme | 8 | b | 8 | 13.07 | 206700 | 300 | 100 | 10 | 68900000 | 7.8382 | 7.8468 | 0.01209
41 | Vortex+lysozyme | 9 | a | 9 | 13.38 | 167700 | 300 | 100 | 10 | 55900000 | 7.7474
42 | Vortex+lysozyme | 9 | b | 9 | 13.18 | 192700 | 300 | 100 | 10 | 64233333.3333 | 7.8078 | 7.7776 | 0.042673
Calibration curve
| R2 |  | 0.9963
| Efficiency | % | 97.51
| Slope |  | -3.383

## rodA portable
Well | Methods | Filter | Replicate | Sample | Cq | Calculated Genes | Water filtration volume | DNA Vol | DNA dilution for qPCR | Gene Con. in water | Log10 Gene Con. in water | Avg | Stdev
[6 empty] | gene copies/uL | mL | uL | times | gene copies/100mL | log10 gene copies/100mL
15 |  |  | a | NTC | no amplification |  |  |  |  | #REF! | #REF!
16 |  |  | b | NTC | no amplification |  |  |  |  | #REF! | #REF!
29 | Ribolyser | 1 | a | 1 | 31.37 | 68.13 | 300 | 100 | 10 | 22710 | 4.3562
30 | Ribolyser | 1 | b | 1 | 30.02 | 161.8 | 300 | 100 | 10 | 53933.3333 | 4.7319 | 4.544 | 0.26562
31 | Ribolyser | 2 | a | 2 | 31.07 | 82.6 | 300 | 100 | 10 | 27533.3333 | 4.4399
32 | Ribolyser | 2 | b | 2 | 30.52 | 117.6 | 300 | 100 | 10 | 39200 | 4.5933 | 4.5166 | 0.10849
33 | Ribolyser | 3 | a | 3 | 31.83 | 50.73 | 300 | 100 | 10 | 16910 | 4.2281
34 | Ribolyser | 3 | b | 3 | 31.47 | 63.7 | 300 | 100 | 10 | 21233.3333 | 4.327 | 4.2776 | 0.069915
35 | Vortex | 4 | a | 4 | 28.03 | 579.2 | 300 | 100 | 10 | 193066.6667 | 5.2857
36 | Vortex | 4 | b | 4 | 27.98 | 597.4 | 300 | 100 | 10 | 199133.3333 | 5.2991 | 5.2924 | 0.0095012
37 | Vortex | 5 | a | 5 | 30.29 | 136.4 | 300 | 100 | 10 | 45466.6667 | 4.6577
38 | Vortex | 5 | b | 5 | 30.6 | 111.6 | 300 | 100 | 10 | 37200 | 4.5705 | 4.6141 | 0.061624
39 | Vortex | 6 | a | 6 | 31.39 | 67.28 | 300 | 100 | 10 | 22426.6667 | 4.3508
40 | Vortex | 6 | b | 6 | 31.2 | 75.94 | 300 | 100 | 10 | 25313.3333 | 4.4033 | 4.3771 | 0.037183
41 | Vortex+lysozyme | 7 | a | 7 | 30.5 | 118.6 | 300 | 100 | 10 | 39533.3333 | 4.597
42 | Vortex+lysozyme | 7 | b | 7 | 30.32 | 133.5 | 300 | 100 | 10 | 44500 | 4.6484 | 4.6227 | 0.036343
43 | Vortex+lysozyme | 8 | a | 8 | 31.22 | 74.73 | 300 | 100 | 10 | 24910 | 4.3964
44 | Vortex+lysozyme | 8 | b | 8 | 30.59 | 112.2 | 300 | 100 | 10 | 37400 | 4.5729 | 4.4846 | 0.1248
45 | Vortex+lysozyme | 9 | a | 9 | 31.4 | 66.86 | 300 | 100 | 10 | 22286.6667 | 4.348
46 | Vortex+lysozyme | 9 | b | 9 | 31.18 | 76.7 | 300 | 100 | 10 | 25566.6667 | 4.4077 | 4.3779 | 0.042164
Calibration curve
| R2 |  | 0.9924
| Efficiency | % | 89.73
| Slope |  | -3.595

## 16S conventional
Well | Methods | Filter | Replicate | Sample | Cq | Calculated Genes | Water filtration volume | DNA Vol | DNA dilution for qPCR | Gene Con. in water | Log10 Gene Con. in water | Avg | Stdev
[6 empty] | gene copies/uL | mL | uL | times | gene copies/100mL | log10 gene copies/100mL
F10 |  |  |  | NTC1 | 30.5768 | NaN |  |  |  | #VALUE! | #VALUE!
F11 |  |  |  | NTC2 | 31.3185 | NaN |  |  |  | #VALUE! | #VALUE!
F12 |  |  |  | NTC3 | 31.4323 | NaN |  |  |  | #VALUE! | #VALUE!
G01 | Ribolyser | 1 | a | 1 | 16.6814 | 211116.5793 | 300 | 100 | 10 | 70372193.0838 | 7.8474
G02 | Ribolyser | 1 | b | 1 | 16.2171 | 289768.6375 | 300 | 100 | 10 | 96589545.8216 | 7.9849 | 7.9162 | 0.097248
G03 | Ribolyser | 2 | a | 2 | 17.3441 | 134335.3202 | 300 | 100 | 10 | 44778440.0747 | 7.6511
G04 | Ribolyser | 2 | b | 2 | 17.1573 | 152587.7882 | 300 | 100 | 10 | 50862596.0732 | 7.7064 | 7.6787 | 0.039124
G05 | Ribolyser | 3 | a | 3 | 17.5903 | 113566.794 | 300 | 100 | 10 | 37855598.0067 | 7.5781
G06 | Ribolyser | 3 | b | 3 | 16.613 | 221187.554 | 300 | 100 | 10 | 73729184.6632 | 7.8676 | 7.7229 | 0.20471
G07 | Vortex | 4 | a | 4 | 17.2344 | 144766.9286 | 300 | 100 | 10 | 48255642.8833 | 7.6835
G08 | Vortex | 4 | b | 4 | 17.1451 | 153864.6151 | 300 | 100 | 10 | 51288205.0486 | 7.71 | 7.6968 | 0.018717
G09 | Vortex | 5 | a | 5 | 16.7381 | 203106.2177 | 300 | 100 | 10 | 67702072.5751 | 7.8306
G10 | Vortex | 5 | b | 5 | 17.2008 | 148130.4288 | 300 | 100 | 10 | 49376809.6066 | 7.6935 | 7.7621 | 0.096929
G11 | Vortex | 6 | a | 6 | 17.9223 | 90548.4583 | 300 | 100 | 10 | 30182819.4203 | 7.4798
G12 | Vortex | 6 | b | 6 | 18.1971 | 75071.4394 | 300 | 100 | 10 | 25023813.1229 | 7.3984 | 7.4391 | 0.057563
H01 | Vortex+lysozyme | 7 | a | 7 | 17.7833 | 99555.3999 | 300 | 100 | 10 | 33185133.2849 | 7.5209
H02 | Vortex+lysozyme | 7 | b | 7 | 17.7886 | 99199.6693 | 300 | 100 | 10 | 33066556.4342 | 7.5194 | 7.5202 | 0.0010993
H03 | Vortex+lysozyme | 8 | a | 8 | 16.4589 | 245716.092 | 300 | 100 | 10 | 81905363.9874 | 7.9133
H04 | Vortex+lysozyme | 8 | b | 8 | 16.9719 | 173161.0618 | 300 | 100 | 10 | 57720353.9343 | 7.7613 | 7.8373 | 0.10747
H05 | Vortex+lysozyme | 9 | a | 9 | 16.9524 | 175484.7882 | 300 | 100 | 10 | 58494929.4028 | 7.7671
H06 | Vortex+lysozyme | 9 | b | 9 | 16.9533 | 175373.084 | 300 | 100 | 10 | 58457694.6826 | 7.7668 | 7.767 | 0.00019554
Calibration curve
| R2 |  | 0.993
| Efficiency | % | 97.8
| Slope |  | -3.376

## rodA conventional
Well | Methods | Filter | Replicate | Sample | Cq | Calculated Genes | Water filtration volume | DNA Volume | DNA dilution for qPCR | Gene Con. in water | Log10 Gene Con. in water | Avg | Stdev
[6 empty] | gene copies/uL | mL | uL | times | gene copies/100mL | log10 gene copies/100mL
B10 |  |  |  | NTC1 | No amplification |  |  |  |  | 0 | #NUM!
B11 |  |  |  | NTC2 | No amplification |  |  |  |  | 0 | #NUM!
B12 |  |  |  | NTC3 | No amplification |  |  |  |  | 0 | #NUM!
C01 | Ribolyser | 1 | a | 1 | 30.9802 | 150.9132 | 300 | 100 | 10 | 50304.3849 | 4.7016
C02 | Ribolyser | 1 | b | 1 | 31.1054 | 138.7829 | 300 | 100 | 10 | 46260.9565 | 4.6652 | 4.6834 | 0.025732
C03 | Ribolyser | 2 | a | 2 | 31.0079 | 148.1443 | 300 | 100 | 10 | 49381.4347 | 4.6936
C04 | Ribolyser | 2 | b | 2 | 31.095 | 139.7504 | 300 | 100 | 10 | 46583.4655 | 4.6682 | 4.6809 | 0.017912
C05 | Ribolyser | 3 | a | 3 | 31.4787 | 108.0972 | 300 | 100 | 10 | 36032.3839 | 4.5567
C06 | Ribolyser | 3 | b | 3 | 31.6197 | 98.3601 | 300 | 100 | 10 | 32786.7052 | 4.5157 | 4.5362 | 0.028988
C07 | Vortex | 4 | a | 4 | 29.1022 | 530.5509 | 300 | 100 | 10 | 176850.2839 | 5.2476
C08 | Vortex | 4 | b | 4 | 28.0916 | 1043.5839 | 300 | 100 | 10 | 347861.2859 | 5.5414 | 5.3945 | 0.20775
C09 | Vortex | 5 | a | 5 | 31.4291 | 111.7472 | 300 | 100 | 10 | 37249.0608 | 4.5711
C10 | Vortex | 5 | b | 5 | 30.6546 | 187.6785 | 300 | 100 | 10 | 62559.5053 | 4.7963 | 4.6837 | 0.15922
C11 | Vortex | 6 | a | 6 | 31.8576 | 83.8781 | 300 | 100 | 10 | 27959.3553 | 4.4465
C12 | Vortex | 6 | b | 6 | 31.1544 | 134.3018 | 300 | 100 | 10 | 44767.27 | 4.651 | 4.5487 | 0.14456
D01 | Vortex+lysozyme | 7 | a | 7 | 31.4701 | 108.7213 | 300 | 100 | 10 | 36240.4494 | 4.5592
D02 | Vortex+lysozyme | 7 | b | 7 | 30.573 | 198.215 | 300 | 100 | 10 | 66071.6699 | 4.82 | 4.6896 | 0.18443
D03 | Vortex+lysozyme | 8 | a | 8 | 31.4548 | 109.8435 | 300 | 100 | 10 | 36614.5035 | 4.5637
D04 | Vortex+lysozyme | 8 | b | 8 | 31.6494 | 96.4241 | 300 | 100 | 10 | 32141.3511 | 4.5071 | 4.5354 | 0.040014
D05 | Vortex+lysozyme | 9 | a | 9 | 31.9429 | 79.2219 | 300 | 100 | 10 | 26407.3071 | 4.4217
D06 | Vortex+lysozyme | 9 | b | 9 | 25.366 | 6470.5995 | 300 | 100 | 10 | 2156866.4953 | 6.3338 | 5.3778 | 1.3521
Calibration curve
| R2 |  | 0.9998
| Efficiency | % | 95.3
| Slope |  | -3.44