## Potable
site.name | month | year | ammonium | chloride | colour | conductivity | fluoride | pH | nitrate | nitrite | soluble.reactive.phosphate | sulphate | TON.ratio | TOC | TON | T220 | T254 | T270 | T350 | turbidity | bromide | bromodichloromethane | bromoform | chlorate | chloroform | dibromochloromethane | THM.total | free.chlorine | temperature | total.chlorine | aluminium | calcium | copper | iron | lead | magnesium | manganese | phosphorus | potassium | sodium | zinc | HPI.mg | HPO.mg | TPI.mg
|  |  | mg/L | mg/L | Pt-Co | µS/cm | mg/L |  | mg/L | mg/L | µg/L | mg/L |  | mg/L | mg/L | % | % | % | % | NTU | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | mg/L | °C | mg/L | mg/L | mg/L | mg/L | mg/L | µg/L | mg/L | µg/L | µgP/L | mg/L | mg/L | µg/L | mg | mg | mg
AWT | Jan | 2015 | 0.03 | 10 | 2 | 151 | 0.042 | 7.8 | 1 | 0.01 | 421 | 52.3 | 0.02 | 1.5 | 1 | 78.07 | 93.04 | 94.26 | 98.96 | 0.2 | 9.3 | 5.1 | 0.5 | 11 | 29.9 | 0.7 | 35.7 | 0.83 | 4.5 | 0.9 | 40 | 22.8 | 0.014 | 9 | 0.2 | 1.7 | 1.8 | 418 | 0.5 | 4.6 | 3 | 0.164 | 0.526 | 0.31
AWT | Feb | 2015 | 0.03 | 14 | 2 | 142 | 0.062 | 8.1 | 1 | 0.01 | 351 | 43.8 | 0.02 | 1.1 | 1 | 78.52 | 93.01 | 94.51 | 96.04 | 0.2 | 9.7 | 5.3 | 0.5 | 11 | 20.3 | 1.2 | 26.8 | 0.83 | 2.1 | 0.92 | 35 | 19.5 | 0.003 | 10 | 0.2 | 1.7 | 1 | 349 | 0.6 | 6.5 | 2 | 0.5168 | 0.8483 | 0.3349
AWT | Mar | 2015 | 0.03 | 15 | 2 | 137 | 0.042 | 7.9 | 1 | 0.01 | 384 | 40 | 0.02 | 1.1 | 1 | 84.68 | 95.35 | 96.67 | 99.26 | 0.2 |  | 6.5 | 0.5 |  | 23.9 | 1.4 | 31.8 | 0.68 |  | 0.75 | 32 | 19.1 | 0.01 | 10 | 0.2 | 1.6 | 1 | 396 | 0.5 | 6.9 | 3 | 0.44592 | 0.50268 | 0.2514
AWT | Apr | 2015 | 0.03 | 14 | 2 | 135 | 0.042 | 7.7 | 1 | 0.01 | 387 | 40 | 0.02 | 1 | 1 | 87.67 | 94.99 | 96.36 | 99.14 | 0.2 | 7 | 6.1 | 0.5 | 11 | 30.9 | 0.9 | 37.9 | 0.85 | 11 | 0.9 | 39 | 19.1 | 0.006 | 10 | 0.2 | 1.6 | 1 | 378 | 0.5 | 6.8 | 3 | 0.48345 | 0.44726 | 0.16929
AWT | May | 2015 | 0.03 | 14 | 2 | 141 | 0.055 | 8.3 | 1 | 0.01 | 282 | 39.5 | 0.02 | 1.3 | 1 | 87.53 | 94.5 | 95.81 | 99.24 | 0.2 | 7 | 5.6 | 0.5 | 11 | 35.6 | 0.8 | 42.1 | 0.78 | 13 | 0.85 | 42 | 18.6 | 0.006 | 20 | 0.2 | 1.6 | 1.3 | 276 | 0.5 | 6.6 | 3 | 0.49518 | 0.63812 | 0.26656
AWT | Jun | 2015 | 0.03 | 13 | 2 | 136 | 0.042 | 8.4 | 1 | 0.01 | 419 | 41.3 | 0.02 | 1.6 | 1 | 82.85 | 92.48 | 94.53 | 98.54 | 0.2 |  | 7.2 | 0.5 |  | 40.1 | 1.1 | 48.4 | 0.68 | 16 | 0.72 | 59 | 20.2 | 0.011 | 18 | 0.2 | 1.6 | 1.7 | 426 | 0.4 | 6.2 | 5 | 0.7614 | 0.71334 | 0.32526
AWT | Aug | 2015 | 0.03 | 10 | 2 | 160 | 0.071 | 8.9 | 1 | 0.01 | 479 | 56.1 | 0.02 | 2.7 | 1 | 77.05 | 89.88 | 92.09 | 98.22 | 0.2 | 7 | 6.6 | 0.5 | 11 | 65 | 0.5 | 72.1 | 0.81 | 19 | 0.9 | 51 | 26.3 | 0.008 | 10 | 0.2 | 1.7 | 1.2 | 505 | 0.3 | 5.2 | 2 | 0.79401 | 0.76817 | 0.33782
AWT | Sep | 2015 | 0.03 | 10 | 2 | 174 | 0.043 | 9 | 1 | 0.01 | 420 | 66.5 | 0.02 | 1.7 | 1 | 79.26 | 92.01 | 93.86 | 98.57 | 0.2 |  | 5.5 | 0.5 |  | 56.6 | 0.5 | 62.2 | 0.8 | 13 | 0.92 | 48 | 30 | 0.005 | 7 | 0.2 | 1.9 | 1 | 429 | 0.3 | 5.1 | 2 | 1.1277 | 0.85974 | 0.31257
AWT | Oct | 2015 | 0.03 | 9 | 2 | 182 | 0.042 | 8.7 | 1 | 0.01 | 365 | 66.8 | 0.02 | 1.8 | 1 | 79.2 | 91.08 | 93.34 | 98.59 | 0.2 | 7 | 5.9 | 0.5 | 11 | 55 | 0.5 | 61.5 | 0.81 | 12 | 0.89 | 43 | 28.4 | 0.007 | 7 | 0.2 | 2 | 1.2 | 357 | 0.3 | 5 | 4 | 0.81757 | 0.73169 | 0.35055
AWT | Nov | 2015 | 0.03 | 8 | 2 | 154 | 0.042 |  | 1 | 0.01 | 398 | 58.2 | 0.02 | 1.8 | 1 | 82.72 | 93.85 | 95.54 | 99.61 | 0.2 |  | 6 | 0.5 |  | 42.1 | 0.9 | 49 | 0.86 | 8 | 0.96 | 43 | 26.1 | 0.005 | 14 | 0.2 | 1.6 | 1.2 | 394 | 0.3 | 4.6 | 2 | 0.69312 | 0.91523 | 0.29165
AWT | Dec | 2014 | 0.03 | 7 | 2 | 150 | 0.042 | 7.3 | 1 | 0.01 | 321 | 54.8 | 0.02 | 2.2 | 1 | 72.66 | 89.2 | 91.37 | 97.87 | 0.2 |  | 5.2 | 0.5 |  | 54.5 | 0.5 | 59.7 | 0.66 | 6.7 | 0.75 | 50 | 24.7 | 0.008 | 38 | 0.2 | 1.7 | 1 | 319 | 0.4 | 4.6 | 2 | 0.78 | 1.3494 | 0.4706
SWT | Jan | 2015 | 0.03 | 37 | 2 | 204 | 0.042 | 7.8 | 1 | 0.01 | 50 | 25.1 | 0.02 | 0.7 | 1 | 92.33 | 96.37 | 96.79 | 99.09 | 0.2 | 31 | 8.9 | 1.4 | 11 | 8.7 | 8.5 | 27.5 | 0.4 | 6.7 | 0.52 | 51 | 1.3 | 0.001 | 7 | 0.2 | 2.7 | 3.6 | 50 | 0.7 | 39.3 | 2 | 0.323 | 0.497 | 0.179
SWT | Feb | 2015 | 0.03 | 59 | 2 | 246 | 0.042 | 8 | 1 | 0.01 | 10 | 18.1 | 0.02 | 0.6 | 1 | 93.77 | 97.26 | 98.16 | 99.59 | 0.2 | 40 | 8.8 | 8 | 11 | 4.8 | 15.9 | 37.6 | 0.55 | 6.4 | 0.57 | 25 | 2 | 0.001 | 7 | 0.2 | 4.3 | 1.2 | 50 | 0.9 | 42.7 | 2 | 0.02625 | 0.32895 | 0.1448
SWT | Mar | 2015 | 0.03 | 45 | 2 | 199 | 0.056 | 7.7 | 1 | 0.01 | 10 | 16.1 | 0.02 | 0.6 | 1 | 95.05 | 98.07 | 97.59 | 99.93 | 0.2 | 29.6 | 7.3 | 3 | 11 | 5.4 | 9.8 | 25.6 | 0.47 | 5.6 | 0.49 | 14 | 1.3 | 0.001 | 7 | 0.2 | 2.9 | 1.1 | 50 | 0.8 | 34.9 | 2 | 0.1489 | 0.2691 | 0.082
SWT | Apr | 2015 | 0.03 | 34 | 2 | 157 | 0.042 | 7.9 | 1 | 0.01 | 10 | 13.8 | 0.02 | 0.9 | 1 | 94.4 | 97.13 | 97.85 | 99.75 | 0.2 | 38.3 | 12 | 0.8 | 11 | 15.9 | 7.6 | 36.2 | 0.46 | 10.1 | 0.5 | 43 | 1 | 0.001 | 7 | 0.2 | 2 | 1 | 50 | 0.7 | 29.4 | 2 | 0.52789 | 0.43351 | 0.13849
SWT | May | 2015 | 0.03 | 31 | 2 | 156 | 0.048 | 7.8 | 1 | 0.01 | 10 | 17.3 | 0.02 | 1.2 | 1 | 91.83 | 95.71 | 96.8 | 99.17 | 0.2 | 18.7 | 12.7 | 0.5 | 59.4 | 22.8 | 5.6 | 41.1 | 0.18 | 8.8 | 0.39 | 42 | 0.9 | 0.001 | 7 | 0.2 | 1.7 | 1 | 50 | 0.6 | 30.9 | 2 | 0.68068 | 0.4602 | 0.15899
SWT | Jun | 2015 | 0.03 | 28 | 2 | 162 | 0.047 | 7.9 | 1 | 0.01 | 10 | 18.9 | 0.02 | 1.4 | 1 | 89.05 | 94.46 | 95.73 | 99.02 | 0.2 | 16.3 | 12.1 | 0.5 | 78 | 27.4 | 4.5 | 43.9 | 0.44 | 11.9 | 0.5 | 27 | 0.9 | 0.001 | 7 | 0.2 | 1.5 | 3.4 | 50 | 0.6 | 32.8 | 2 | 0.6213 | 0.6705 | 0.2082
SWT | Jul | 2015 | 0.03 | 26 | 2 | 161 | 0.042 | 7.8 | 1 | 0.01 | 10 | 23 | 0.02 | 1.7 | 1 | 87.05 | 93.16 | 95.27 | 98.94 | 0.2 | 12.8 | 14 | 0.5 | 190.4 | 44.2 | 3.6 | 61.8 | 0.4 | 13 | 0.43 | 42 | 0.8 | 0.001 | 7 | 0.2 | 1.2 | 1.4 | 50 | 0.4 | 34.4 | 2 | 0.6239 | 0.80002 | 0.27608
SWT | Aug | 2015 | 0.03 | 24 | 2 | 166 | 0.042 | 7.8 | 1 | 0.01 | 10 | 26 | 0.02 | 1.8 | 1 | 86.02 | 93.15 | 94.94 | 98.83 | 0.3 | 15.3 | 14.8 | 0.5 | 224.3 | 48.2 | 3.9 | 66.9 | 0.35 | 13.7 | 0.44 | 31 | 0.8 | 0.001 | 7 | 0.2 | 1.2 | 2.6 | 50 | 0.5 | 36.2 | 3 | 0.69258 | 0.90363 | 0.50379
SWT | Sep | 2015 | 0.03 | 23 | 2 | 170 | 0.042 | 7.9 | 1 | 0.01 | 10 | 25.9 | 0.02 | 1.8 | 1 | 84.24 | 92.57 | 94.31 | 98.79 | 0.2 | 46.3 | 17.1 | 0.5 | 211.6 | 48.7 | 4.4 | 70.2 | 0.45 | 12.9 | 0.51 | 12 | 0.8 | 0.001 | 7 | 0.2 | 1.2 | 2.5 | 50 | 0.4 | 34.6 | 3 | 1.0862 | 0.6952 | 0.2186
SWT | Nov | 2015 | 0.03 | 24 | 2 | 169 | 0.042 | 7.8 | 1 | 0.01 | 10 | 28.6 | 0.02 | 1.9 | 1 | 84.07 | 93.21 | 95.04 | 99.18 | 0.2 |  | 12 | 0.5 |  | 28.5 | 3.8 | 44.2 | 0.77 | 8.9 | 0.8 | 56 | 0.9 | 0.001 | 7 | 0.2 | 1.4 | 3.7 | 50 | 0.4 | 35.8 | 3 | 0.7506 | 0.9168 | 0.3326
SWT | Dec | 2014 | 0.03 | 33 | 2 | 199 |  | 7.8 | 1 | 0.01 | 50 | 26.4 | 0.02 | 1.1 | 1 | 91.82 | 95.2 | 96.39 | 98.86 | 0.2 |  | 9.3 | 1 |  | 11.5 | 7.4 | 29.3 | 0.45 | 5.3 | 0.51 | 42 | 1.2 | 0.001 | 7 | 0.2 | 2.5 | 3.6 | 50 | 0.7 | 40.7 | 2 | 0.8164 | 0.3159 | 0.1677
FWT | Jan | 2015 | 0.03 | 56 | 2 | 363 | 0.067 | 8.9 | 22.75 | 0.01 | 50 | 55.4 | 0.46 | 0.5 | 22.75 | 4.42 | 97.42 | 98.21 | 99.71 | 0.2 | 91.9 | 1.8 | 11.4 | 68.2 | 1.7 | 6.3 | 19.4 | 0.6 | 1.4 | 0.66 | 10 | 32.3 | 0.001 | 7 | 0.2 | 6.4 | 1 | 50 | 3.3 | 31.9 | 2 | 0.4077 | 0.2979 | 0.1935
FWT | Feb | 2015 | 0.03 | 48 | 2 | 331 | 0.078 | 8.6 | 22.39 | 0.01 | 10 | 52.9 | 0.45 | 0.4 | 22.39 | 4.32 | 98.43 | 98.92 | 100.16 | 0.2 | 84.9 | 1.8 | 13.7 | 47.3 | 1.7 | 7.3 | 22.8 | 0.56 | 4 | 0.73 | 9 | 29.8 | 0.001 | 7 | 0.2 | 6.7 | 1 | 50 | 3.2 | 28.6 | 2 | 0.2572 | 0.45376 | 0.08896
FWT | Mar | 2015 | 0.03 | 46 | 2 | 334 | 0.042 | 8.7 | 23.79 | 0.01 | 10 | 55.7 | 0.48 | 0.4 | 23.79 | 3.84 | 96.68 | 98.58 | 99.88 | 0.2 | 85.8 | 1.5 | 13.3 | 44.4 | 1.7 | 5.9 | 20.6 | 0.54 | 5.7 | 0.63 | 9 | 31.2 | 0.001 | 7 | 0.2 | 6.9 | 1 | 50 | 2.9 | 28.1 | 2 | 0.33768 | 0.18936 | 0.07296
FWT | Apr | 2015 | 0.03 | 44 | 2 | 337 | 0.081 | 8.3 | 21.35 | 0.01 | 10 | 59.9 | 0.43 | 0.6 | 21.35 | 4.54 | 97.93 | 98.47 | 99.6 | 0.2 | 83.5 | 1.9 | 14.2 | 39.2 | 1.7 | 7.6 | 23.7 | 0.66 | 10.4 | 0.76 | 14 | 31.4 | 0.009 | 7 | 0.2 | 6.9 | 1 | 50 | 2.5 | 27.1 | 5 | 0.49335 | 0.32186 | 0.28479
FWT | May | 2015 | 0.03 | 41 | 2 | 319 | 0.065 | 8.3 | 17.49 | 0.01 | 10 | 59.7 | 0.35 | 0.6 | 17.49 | 7.39 | 97.49 | 98.24 | 99.94 | 0.2 | 60.2 | 2.6 | 13.1 | 34 | 1.7 | 9.2 | 24.8 | 0.5 | 11.4 | 0.61 | 15 | 30.3 | 0.001 | 7 | 0.2 | 6.5 | 1 | 50 | 2.6 | 25.4 | 2 | 0.20328 | 0.23184 | 0.16488
FWT | Jun | 2015 | 0.03 | 42 | 2 | 327 | 0.069 | 8.1 | 20.41 | 0.01 | 10 | 59.3 | 0.41 | 0.4 | 20.41 | 5.55 | 98.05 | 98.58 | 99.76 | 0.2 |  | 2.4 | 11 |  | 1.7 | 8.5 | 21.9 | 0.53 | 14.3 | 0.59 | 16 | 32 | 0.002 | 7 | 0.2 | 7.1 | 1 | 50 | 2.4 | 26.2 | 2 | 0.30672 | 0.34032 | 0.15296
FWT | Aug | 2015 | 0.03 | 39 | 2 | 340 | 0.145 | 8.1 | 14.36 | 0.01 | 10 | 73.8 | 0.29 | 0.5 | 14.36 | 11.9 | 98.57 | 99.23 | 100.5 | 0.2 | 76.7 | 2.9 | 12.7 | 41.2 | 1.7 | 9.9 | 25.4 | 0.55 | 15.4 | 0.59 | 13 | 35.5 | 0.002 | 7 | 0.2 | 6.5 | 1 | 50 | 3.6 | 24.2 | 2 | 0.2261 | 0.31241 | 0.16149
FWT | Sep | 2015 | 0.03 | 40 | 2 | 339 | 0.138 | 7.8 | 16.39 | 0.01 | 10 | 68.8 | 0.33 | 0.6 | 16.39 | 9.71 | 97.75 | 98.32 | 99.66 | 0.2 | 85.2 | 2.5 | 8.6 | 37.1 | 1.7 | 8.6 | 19.7 | 0.48 | 12.9 | 0.58 | 9 | 32.6 | 0.003 | 7 | 0.2 | 7 | 1 | 50 | 3.3 | 26.3 | 2 | 0.4428 | 0.19216 | 0.16504
FWT | Oct | 2015 | 0.03 | 41 | 2 | 335 | 0.076 | 8.5 | 19.79 | 0.01 | 10 | 70.2 | 0.4 | 0.8 | 19.79 | 7.14 | 97.4 | 98.15 | 99.54 | 0.2 |  | 3.2 | 14.1 |  | 1.7 | 10.6 | 27.9 | 0.5 | 8.7 | 0.57 | 10 | 35.9 | 0.003 | 7 | 0.2 | 6.5 | 1 | 50 | 3.7 | 24.3 | 2 | 0.433 | 0.395 | 0.172
FWT | Nov | 2014 | 0.03 | 36 | 2 | 309 | 0.093 | 7.8 | 19.25 | 0.01 | 50 | 66.5 | 0.39 | 0.7 | 19.25 | 5.31 | 95.54 | 97.73 | 99.64 | 0.2 |  | 1.3 | 8 |  | 1.7 | 5.2 | 14.5 | 0.54 | 8 | 0.6 | 15 | 33.8 | 0.002 | 7 | 0.2 | 5.8 | 1 | 50 | 4 | 22.1 | 2 | 0.3073 | 0.2583 | 0.1344
FWT | Dec | 2014 | 0.03 | 48 | 2 | 363 |  | 8.4 | 23.48 | 0.01 | 50 | 60.5 | 0.47 | 0.3 | 23.48 | 3.34 | 93.87 | 94.44 | 98.17 | 0.2 |  | 1.2 | 10.7 |  | 1.7 | 5.1 | 17.1 | 0.43 | 2.8 | 0.5 | 16 | 32.8 | 0.001 | 7 | 0.2 | 6.3 | 1 | 50 | 3.4 | 31.3 | 2 | 0.595 | 0.289 | 0.116
BWT | Jan | 2015 | 0.03 | 35 | 2 | 161 | 0.042 | 7.8 | 1 | 0.01 | 150 | 4.3 | 0.02 | 0.7 | 1 | 89.41 | 94.71 | 96 | 99.3 | 0.2 | 27.2 | 11.4 | 0.6 | 77.7 | 17.6 | 8 | 37.6 | 0.59 | 2.7 | 0.7 | 9 | 11.1 | 0.003 | 7 | 0.2 | 4.4 | 1 | 137 | 0.5 | 16.3 | 7 | 0.354 | 0.546 | 0.099
BWT | Feb | 2015 | 0.03 | 23 | 2 | 120 | 0.042 | 7.9 | 1 | 0.01 | 16 | 3 | 0.02 | 0.7 | 1 | 90.27 | 95.73 | 96.81 | 99.67 | 0.2 | 14.6 | 9.1 | 0.5 | 83.9 | 30.8 | 2.2 | 42.1 | 0.48 | 4.1 | 0.53 | 9 | 9.4 | 0.005 | 7 | 0.2 | 2.7 | 2.3 | 50 | 0.4 | 12.1 | 8 | 0.1251 | 0.7671 | 0.1078
BWT | Mar | 2015 | 0.03 | 32 | 2 | 162 | 0.042 | 8.7 | 1 | 0.01 | 137 | 4.7 | 0.02 | 0.3 | 1 | 94.25 | 98.51 | 98.58 | 99.79 | 0.2 | 27.6 | 4.4 | 7 | 37 | 5.1 | 9.3 | 25.8 | 0.57 | 5.6 | 0.62 | 9 | 12.5 | 0.002 | 7 | 0.2 | 4.9 | 1 | 120 | 0.5 | 15.6 | 4 | 0.2793 | 0.1562 | 0.06455
BWT | Apr | 2015 | 0.03 | 23 | 2 | 117 | 0.042 | 7.9 | 1 | 0.01 | 43 | 2.6 | 0.02 | 0.6 | 1 | 92.71 | 96.65 | 97.46 | 99.42 | 0.2 | 20.1 | 7.6 | 0.5 | 45.4 | 14.2 | 3.6 | 25.4 | 0.57 | 6.2 | 0.62 | 9 | 8.5 | 0.003 | 8 | 0.2 | 2.7 | 1 | 50 | 0.4 | 12.5 | 12 | 0.32238 | 0.19404 | 0.08358
BWT | May | 2015 | 0.03 | 23 | 2 | 147 | 0.042 | 8.4 | 1 | 0.01 | 327 | 2.7 | 0.02 | 0.7 | 1 | 89.5 | 94.69 | 95.93 | 98.86 | 0.2 | 8.9 | 10.6 | 0.5 | 105.6 | 35.6 | 3.1 | 49.3 | 0.59 | 9.7 | 0.67 | 9 | 12.3 | 0.003 | 8 | 0.2 | 5.1 | 1 | 344 | 0.3 | 12 | 10 | 0.31936 | 0.31912 | 0.16152
BWT | Jun | 2015 | 0.03 | 20 | 2 | 149 | 0.293 | 8.9 | 1 | 0.01 | 330 | 2.6 | 0.02 | 1 | 1 | 88.56 | 94.18 | 95.59 | 98.69 | 0.2 | 9.5 | 11.2 | 0.5 | 110.7 | 44.2 | 2.8 | 58.2 | 0.55 | 11.4 | 0.68 | 9 | 14.3 | 0.003 | 25 | 0.4 | 6.3 | 1 | 351 | 0.3 | 11.2 | 7 | 0.33176 | 0.47663 | 0.29172
BWT | Aug | 2015 | 0.03 | 15 | 2 | 118 | 0.042 | 8.4 | 1 | 0.01 | 140 | 2 | 0.02 | 1.5 | 1 | 85.2 | 91.92 | 93.76 | 98.4 | 0.2 | 10.8 | 10.2 | 0.5 | 244.8 | 50.9 | 1.9 | 63.1 | 0.57 | 12.4 | 0.62 | 9 | 11.7 | 0.002 | 7 | 0.2 | 4.5 | 1 | 134 | 0.2 | 9.6 | 2 | 0.56042 | 0.62538 | 0.2142
BWT | Sep | 2015 | 0.04 | 15 | 2 | 144 | 0.043 | 8.2 | 1 | 0.01 | 190 | 2.3 | 0.02 | 1.5 | 1 | 83.54 | 91.14 | 92.91 | 98.06 | 0.2 |  | 13.1 | 0.5 |  | 64.9 | 2.4 | 80.4 | 0.35 | 11.8 | 0.48 | 9 | 15.1 | 0.003 | 7 | 0.2 | 5.7 | 1 | 190 | 0.3 | 9.9 | 5 | 0.65949 | 0.91105 | 0.32927
BWT | Oct | 2015 | 0.03 | 16 | 3 | 126 | 0.042 | 8.2 | 1 | 0.01 | 232 | 2.2 | 0.02 | 1.9 | 1 | 81.04 | 89.48 | 91.78 | 97.84 | 0.2 |  | 10.1 | 0.5 |  | 74 | 1.2 | 85.2 | 0.45 | 9 | 0.48 | 9 | 13.2 | 0.004 | 8 | 0.2 | 4.1 | 1 | 234 | 0.4 | 9.8 | 7 | 0.9329 | 0.60496 | 0.36214
BWT | Nov | 2014 | 0.03 | 10 | 2 | 108 | 0.042 | 7.8 | 1 | 0.01 | 148 | 1.6 | 0.02 | 1.2 | 1 | 86.48 | 93.06 | 95.17 | 98.83 | 0.2 | 7.3 | 7.8 | 0.5 | 213.8 | 33 | 1.5 | 42.4 | 0.71 | 7.4 | 0.73 | 9 | 12.4 | 0.005 | 7 | 0.2 | 2.8 | 1 | 172 | 0.4 | 8 | 8 | 0.4592 | 0.6062 | 0.3346
Dec
GWT | Jan | 2015 | 0.03 | 64 | 2 | 230 | 0.043 | 7.4 | 1.02 | 0.01 | 148 | 6.3 | 0.02 | 0.8 | 1.02 | 79.91 | 94.82 | 96.84 | 99.46 |  | 86.6 | 6.5 | 14.4 | 112.5 | 4 | 20 | 44.9 | 0.4 | 4.1 | 0.48 | 9 | 9 | 0.003 | 7 | 0.2 | 4.2 | 1 | 162 | 2.8 | 30.9 | 10 | 0.4816 | 0.1936 | 0.124
GWT | Mar | 2015 | 0.03 | 57 | 2 | 207 | 0.08 | 7.6 | 1 | 0.01 | 96 | 4.6 | 0.02 | 0.6 | 1 | 94.05 | 97.06 | 97.91 | 99.76 |  | 70.3 | 6.4 | 11.9 | 115.8 | 3.6 | 17.4 | 39.3 | 0.48 | 8 | 0.56 | 9 | 9.1 | 0.003 | 7 | 0.2 | 3.9 | 1 | 66 | 2.4 | 29.4 | 6 | 0.3599 | 0.4757 | 0.1644
GWT | Apr | 2015 | 0.03 | 60 | 2 | 236 | 0.061 | 7.6 | 1 | 0.01 | 219 | 5.5 | 0.02 | 0.6 | 1 | 92.5 | 96.86 | 97.89 | 99.65 |  | 60.7 | 10.1 | 12.3 | 208 | 4.1 | 23 | 49.5 | 0.42 | 12 | 0.46 | 9 | 12 | 0.003 | 7 | 0.2 | 4.6 | 1 | 245 | 2.4 | 31.2 | 6 | 0.46125 | 0.30465 | 0.1341
GWT | May | 2015 | 0.03 | 61 | 2 | 226 | 0.044 | 7.7 | 1 | 0.01 | 156 | 4.5 | 0.02 | 1 | 1 | 90.74 | 95.86 | 96.96 | 99.43 |  | 58.3 | 11.8 | 12 | 220.6 | 5.6 | 25.3 | 54.7 | 0.55 | 13.5 | 0.59 | 9 | 12.2 | 0.003 | 7 | 0.2 | 4.6 | 1 | 169 | 2 | 29.2 | 8 | 0.5442 | 0.37908 | 0.27672
GWT | Jun | 2015 | 0.03 | 61 | 2 | 237 | 0.072 | 7.5 | 1 | 0.01 | 151 | 3.4 | 0.02 | 0.8 | 1 | 88.91 | 95.43 | 97.15 | 99.27 |  | 65.4 | 12.3 | 12.3 | 286.4 | 5.2 | 26.5 | 56.3 | 0.48 | 14.4 | 0.57 | 9 | 12.9 | 0.004 | 7 | 0.2 | 4.8 | 1 | 163 | 1.8 | 31.4 | 8 | 0.3921 | 0.1816 | 0.4262
GWT | Jul | 2015 | 0.03 | 56 | 2 | 212 | 0.051 | 7.6 | 1 | 0.01 | 139 | 2.1 | 0.02 | 0.9 | 1 | 90.64 | 95.82 | 97.46 | 99.45 |  | 65.5 | 12.9 | 11.8 | 190.9 | 5.5 | 25.1 | 55.3 | 0.5 | 15.6 | 0.59 | 9 | 12.3 | 0.003 | 7 | 0.2 | 4.4 | 1 | 154 | 1.7 | 28.8 | 10 | 0.4024 | 0.384 | 0.2136
GWT | Aug | 2015 | 0.03 | 58 | 2 | 222 | 0.059 | 7.5 | 1 | 0.01 | 134 | 1.9 | 0.02 | 1.3 | 1 | 86.57 | 93.96 | 95.72 | 99.19 |  |  | 15.8 | 11.6 |  | 6.8 | 27.7 | 62 | 0.46 | 17.1 | 0.56 | 9 | 12.9 | 0.004 | 7 | 0.2 | 4.6 | 1 | 147 | 1.7 | 28.7 | 6 | 0.49956 | 0.48972 | 0.21072
GWT | Sep | 2015 | 0.03 | 58 | 2 | 219 | 0.097 | 7.5 | 1 | 0.01 | 138 | 2.2 | 0.02 | 1.7 | 1 | 84.97 | 93.3 | 95.17 | 99.27 |  |  | 22.1 | 10.1 |  | 16.8 | 30.1 | 79 | 0.42 | 14 | 0.46 | 9 | 13.4 | 0.004 | 7 | 0.2 | 4.9 | 1 | 167 | 1.5 | 29.7 | 8 | 0.81263 | 0.52839 | 0.55898
GWT | Oct | 2015 | 0.03 | 53 | 2 | 229 | 0.054 | 7.7 | 1.72 | 0.01 | 156 | 2.1 | 0.04 | 1.2 | 1.72 | 88.51 | 95.16 | 97.01 | 99.92 |  | 55.2 | 13.8 | 12.7 | 184.4 | 6.1 | 26.7 | 59.3 | 0.45 | 10.8 | 0.61 | 9 | 12.8 | 0.003 | 7 | 0.2 | 4.9 | 1 | 181 | 1.3 | 29.4 | 7 | 0.38984 | 0.39314 | 0.31702
GWT | Nov | 2015 | 0.03 | 46 | 2 | 182 | 0.052 | 7.5 | 1 | 0.01 | 150 | 4.2 | 0.02 | 0.8 | 1 | 85.02 | 95.96 | 96.99 | 99.39 |  |  | 9 | 7.1 |  | 4.7 | 18.4 | 39.1 |  | 9 | 0.62 | 9 | 8.5 | 0.003 | 7 | 0.2 | 3.5 | 1 | 172 | 3 | 24.7 | 10 | 0.427 | 0.4186 | 0.1543
GWT | Dec | 2015 | 0.03 | 46 | 2 | 182 | 0.042 | 7.6 | 1 | 0.01 | 140 | 4.3 | 0.02 | 0.5 | 1 | 85.47 | 97.48 | 98.21 | 99.68 |  | 51.5 | 7.3 | 7.6 | 206.1 | 3.6 | 17 | 35.6 | 0.51 | 8.2 | 0.55 | 9 | 8.1 | 0.003 | 7 | 0.2 | 3.3 | 1 | 142 | 2.8 | 24.7 | 7 | 0.34488 | 0.43929 | 0.11583

## Potable DOC Quality
site.name | month | year | HPI | HPO | TPI | t.THMs | chloroform | bromodichloromethane | dibromochloromethane | bromoform
|  |  | (%) | (%) | (%) | (ug/L) | (ug/L) | (ug/L) | (ug/L) | (ug/L)
AWT | Jan | 2015 | 16.4 | 52.6 | 31 | 35.7 | 29.9 | 5.1 | 0.7 | 0.5
AWT | Feb | 2015 | 30.4 | 49.9 | 19.7 | 26.8 | 20.3 | 5.3 | 1.2 | 0.5
AWT | Mar | 2015 | 37.16 | 41.89 | 20.95 | 31.8 | 23.9 | 6.5 | 1.4 | 0.5
AWT | Apr | 2015 | 43.95 | 40.66 | 15.39 | 37.9 | 30.9 | 6.1 | 0.9 | 0.5
AWT | May | 2015 | 35.37 | 45.58 | 19.04 | 42.1 | 35.6 | 5.6 | 0.8 | 0.5
AWT | Jun | 2015 | 42.3 | 39.63 | 18.07 | 48.4 | 40.1 | 7.2 | 1.1 | 0.5
AWT | Aug | 2015 | 41.79 | 40.43 | 17.78 | 72.1 | 65 | 6.6 | 0.5 | 0.5
AWT | Sep | 2015 | 49.03 | 37.38 | 13.59 | 62.2 | 56.6 | 5.5 | 0.5 | 0.5
AWT | Oct | 2015 | 43.03 | 38.51 | 18.45 | 61.5 | 55 | 5.9 | 0.5 | 0.5
AWT | Nov | 2015 | 36.48 | 48.17 | 15.35 | 49 | 42.1 | 6 | 0.9 | 0.5
AWT | Dec | 2014 | 30 | 51.9 | 18.1 | 59.7 | 54.5 | 5.2 | 0.5 | 0.5
SWT | Jan | 2015 | 32.3 | 49.7 | 17.9 | 27.5 | 8.7 | 8.9 | 8.5 | 1.4
SWT | Feb | 2015 | 5.25 | 65.79 | 28.96 | 37.6 | 4.8 | 8.8 | 15.9 | 8
SWT | Mar | 2015 | 29.78 | 53.82 | 16.4 | 25.6 | 5.4 | 7.3 | 9.8 | 3
SWT | Apr | 2015 | 47.99 | 39.41 | 12.59 | 36.2 | 15.9 | 12 | 7.6 | 0.8
SWT | May | 2015 | 52.36 | 35.4 | 12.23 | 41.1 | 22.8 | 12.7 | 5.6 | 0.5
SWT | Jun | 2015 | 41.42 | 44.7 | 13.88 | 43.9 | 27.4 | 12.1 | 4.5 | 0.5
SWT | Jul | 2015 | 36.7 | 47.06 | 16.24 | 61.8 | 44.2 | 14 | 3.6 | 0.5
SWT | Aug | 2015 | 32.98 | 43.03 | 23.99 | 66.9 | 48.2 | 14.8 | 3.9 | 0.5
SWT | Sep | 2015 | 54.31 | 34.76 | 10.93 | 70.2 | 48.7 | 17.1 | 4.4 | 0.5
SWT | Nov | 2015 | 37.53 | 45.84 | 16.63 | 44.2 | 28.5 | 12 | 3.8 | 0.5
SWT | Dec | 2014 | 62.8 | 24.3 | 12.9 | 29.3 | 11.5 | 9.3 | 7.4 | 1
FWT | Jan | 2015 | 45.3 | 33.1 | 21.5 | 19.4 | 1.7 | 1.8 | 6.3 | 11.4
FWT | Feb | 2015 | 32.15 | 56.72 | 11.12 | 22.8 | 1.7 | 1.8 | 7.3 | 13.7
FWT | Mar | 2015 | 56.28 | 31.56 | 12.16 | 20.6 | 1.7 | 1.5 | 5.9 | 13.3
FWT | Apr | 2015 | 44.85 | 29.26 | 25.89 | 23.7 | 1.7 | 1.9 | 7.6 | 14.2
FWT | May | 2015 | 33.88 | 38.64 | 27.48 | 24.8 | 1.7 | 2.6 | 9.2 | 13.1
FWT | Jun | 2015 | 38.34 | 42.54 | 19.12 | 21.9 | 1.7 | 2.4 | 8.5 | 11
FWT | Aug | 2015 | 32.3 | 44.63 | 23.07 | 25.4 | 1.7 | 2.9 | 9.9 | 12.7
FWT | Sep | 2015 | 55.35 | 24.02 | 20.63 | 19.7 | 1.7 | 2.5 | 8.6 | 8.6
FWT | Oct | 2015 | 43.3 | 39.5 | 17.2 | 27.9 | 1.7 | 3.2 | 10.6 | 14.1
FWT | Nov | 2014 | 43.9 | 36.9 | 19.2 | 14.5 | 1.7 | 1.3 | 5.2 | 8
FWT | Dec | 2014 | 59.5 | 28.9 | 11.6 | 17.1 | 1.7 | 1.2 | 5.1 | 10.7
BWT | Jan | 2015 | 35.4 | 54.6 | 9.9 | 37.6 | 17.6 | 11.4 | 8 | 0.6
BWT | Feb | 2015 | 12.51 | 76.71 | 10.78 | 42.1 | 30.8 | 9.1 | 2.2 | 0.5
BWT | Mar | 2015 | 55.86 | 31.24 | 12.91 | 25.8 | 5.1 | 4.4 | 9.3 | 7
BWT | Apr | 2015 | 53.73 | 32.34 | 13.93 | 25.4 | 14.2 | 7.6 | 3.6 | 0.5
BWT | May | 2015 | 39.92 | 39.89 | 20.19 | 49.3 | 35.6 | 10.6 | 3.1 | 0.5
BWT | Jun | 2015 | 30.16 | 43.33 | 26.52 | 58.2 | 44.2 | 11.2 | 2.8 | 0.5
BWT | Aug | 2015 | 40.03 | 44.67 | 15.3 | 63.1 | 50.9 | 10.2 | 1.9 | 0.5
BWT | Sep | 2015 | 34.71 | 47.95 | 17.33 | 80.4 | 64.9 | 13.1 | 2.4 | 0.5
BWT | Oct | 2015 | 49.1 | 31.84 | 19.06 | 85.2 | 74 | 10.1 | 1.2 | 0.5
BWT | Nov | 2014 | 32.8 | 43.3 | 23.9 | 42.4 | 33 | 7.8 | 1.5 | 0.5
BWT | Dec
GWT | Jan | 2015 | 60.2 | 24.2 | 15.5 | 44.9 | 4 | 6.5 | 20 | 14.4
GWT | Mar | 2015 | 35.99 | 47.57 | 16.44 | 39.3 | 3.6 | 6.4 | 17.4 | 11.9
GWT | Apr | 2015 | 51.25 | 33.85 | 14.9 | 49.5 | 4.1 | 10.1 | 23 | 12.3
GWT | May | 2015 | 45.35 | 31.59 | 23.06 | 54.7 | 5.6 | 11.8 | 25.3 | 12
GWT | Jun | 2015 | 39.21 | 18.16 | 42.62 | 56.3 | 5.2 | 12.3 | 26.5 | 12.3
GWT | Jul | 2015 | 40.24 | 38.4 | 21.36 | 55.3 | 5.5 | 12.9 | 25.1 | 11.8
GWT | Aug | 2015 | 41.63 | 40.81 | 17.56 | 62 | 6.8 | 15.8 | 27.7 | 11.6
GWT | Sep | 2015 | 42.77 | 27.81 | 29.42 | 79 | 16.8 | 22.1 | 30.1 | 10.1
GWT | Oct | 2015 | 35.44 | 35.74 | 28.82 | 59.3 | 6.1 | 13.8 | 26.7 | 12.7
GWT | Nov | 2015 | 42.7 | 41.86 | 15.43 | 39.1 | 4.7 | 9 | 18.4 | 7.1
GWT | Dec | 2015 | 38.32 | 48.81 | 12.87 | 35.6 | 3.6 | 7.3 | 17 | 7.6

## Raw
site.name | month | year | alkalinity | ammonium | chloride | colour | conductivity | fluoride | pH | nitrate | nitrite | soluble.reactive.phosphate | sulphate | TON.ratio | TOC.filt | TOC | TON | T220 | T254 | T270 | T350 | turbidity | UV.transmittance | bromide | Temp | aluminium | calcium | copper | iron | lead | magnesium | manganese | phosphorus | potassium | sodium | zinc | chlorophyll | HPI.mg | HPO.mg | TPI.mg
|  |  | mgCaCO3/L | mg/L | mg/L | Pt-Co | µS/cm | mg/L |  | mg/L | mg/L | µg/L | mg/L |  | mg/L | mg/L | mg/L | % | % | % | % | NTU | % | µg/L | °C | µg/L | mg/L | mg/L | mg/L | µg/L | mg/L | µg/L | µgP/L | mg/L | mg/L | µg/L | µg/L | mg | mg | mg
AWT | Jan | 2015 | 6 | 0.03 | 9 | 145 | 43 | 0.049 | 6.6 | 1 | 0.01 | 50 | 2.6 | 0.02 | 14.5 | 14.8 | 1 | 5.86 | 16.73 | 20.15 | 56.62 | 2.1 | 15.9 | 15.6 | 4.5 | 143 | 2.4 | 0.002 | 823 | 1.2 | 1.2 | 13.2 | 50 | 0.5 | 4.7 | 9 | 3.47 | 0.754 | 11.89 | 1.8415
AWT | Feb | 2015 | 7 | 0.03 | 14 | 119 | 51 | 0.07 | 6.4 | 1 | 0.01 | 23 | 3.1 | 0.02 | 9.8 | 11.5 | 1 | 12.12 | 25.47 | 29.87 | 63.76 | 2 | 25.5 | 26.2 | 2.5 | 116 | 2.5 | 0.002 | 646 | 0.9 | 1.3 | 15.2 | 50 | 0.6 | 7.1 | 10 | 2.24 | 1.0976 | 8.232 | 1.8704
AWT | March | 2015 | 5 | 0.03 | 14 | 75 | 53 | 0.042 | 6.8 | 1 | 0.01 | 10 | 2.8 | 0.02 | 8.3 | 8.4 | 1 | 18.27 | 33.79 | 38.67 | 69.98 | 1.7 | 32.6 | 22.7 | 6 | 100 | 2.4 | 0.001 | 499 | 0.6 | 1.3 | 10.4 | 50 | 0.5 | 6.8 | 7 | 14.66 | 0.81184 | 6.2918 | 1.4964
AWT | Apr | 2015 | 7 | 0.03 | 14 | 86 | 50 | 0.053 | 6.4 | 1 | 0.01 | 10 | 2.7 | 0.02 | 8.8 | 8.8 | 1 | 19.3 | 34.2 | 38.99 | 70.38 | 1.2 | 32.7 | 21 | 10.5 | 69 | 2.5 | 0.002 | 442 | 0.7 | 1.2 | 22.4 | 50 | 0.5 | 6.9 | 6 | 9.95 | 1.3719 | 5.9177 | 1.2104
AWT | May | 2015 | 9 | 0.03 | 13 | 102 | 48 | 0.055 | 6.6 | 1 | 0.01 | 10 | 2.6 | 0.02 | 9.4 | 10.1 | 1 | 15.88 | 29.94 | 34.75 | 67.38 | 1.9 | 29 | 22.1 | 10 | 105 | 2.4 | 0.002 | 561 | 0.8 | 1.2 | 18.1 | 50 | 0.4 | 6.4 | 7 | 6.17 | 0.85578 | 7.5653 | 1.7779
AWT | Jun | 2015 | 7 | 0.03 | 11 | 102 | 46 |  | 6.6 | 1 | 0.01 | 15 | 2.5 | 0.02 | 10.1 | 10.3 | 1 | 11.5 | 24.16 | 28.7 | 62.33 | 1.2 | 23.7 |  | 14 | 128 | 2.6 | 0.003 | 664 | 0.8 | 1.2 | 18.4 | 50 | 0.4 | 6.1 | 8 | 2.64 | 1.0177 | 8.7181 | 1.7652
AWT | Aug | 2015 | 10 | 0.03 | 9 | 153 | 44 | 0.076 | 6.6 | 1 | 0.01 | 16 | 2.4 | 0.02 | 17.4 | 18.7 | 1 | 3.93 | 12.07 | 15.55 | 49.64 | 1.2 | 12.2 | 7.5 | 13.5 | 127 | 2.8 | 0.003 | 925 | 0.8 | 1.2 | 25.4 | 50 | 0.3 | 5.1 | 8 | 5.53 | 1.3944 | 13.6953 | 2.8085
AWT | Sep | 2015 | 12 | 0.03 | 9 | 173 | 41 | 0.043 | 6.8 | 1 | 0.01 | 16 | 2.4 | 0.02 | 16.7 | 17.1 | 1 | 3.46 | 10.79 | 14.06 | 47.51 | 1.2 |  | 26.4 | 12 | 115 | 3 | 0.003 | 989 | 0.8 | 1.3 | 26.9 | 50 | 0.3 | 5.1 | 103 | 6.35 | 2.1182 | 12.1562 | 2.3257
AWT | Oct | 2015 | 9 | 0.03 | 8 | 153 | 43 | 0.044 | 7.4 | 1 | 0.01 | 19 | 2.4 | 0.02 | 16.6 | 16.8 | 1 | 4.01 | 11.8 | 15.22 | 49.07 | 1.6 |  | 14.1 | 10 | 130 | 2.9 | 0.003 | 1050 | 0.9 | 1.3 | 21.2 | 50 | 0.3 | 5.1 | 8 | 9.56 | 2.232 | 9.9154 | 3.3511
AWT | Nov | 2014 | 9 | 0.03 | 6 | 173 | 27 | 0.042 | 6.3 | 1 | 0.01 | 50 | 2.9 | 0.02 | 18.4 | 23.6 | 1 | 2.19 | 8.95 | 12.03 | 44.29 | 1.5 | 8.4 | 15.7 | 8.1 | 137 | 2.9 | 0.003 | 1150 | 1.3 | 1.3 | 22.5 | 50 | 0.4 | 4.5 | 8 | 3.42 | 2.0984 | 11.0424 | 4.0592
AWT | Dec | 2014 | 9 | 0.03 | 7 | 189 | 37 | 0.042 | 6.7 | 1 | 0.01 | 50 | 2.9 | 0.02 | 18.7 | 20.2 | 1 | 2.22 | 8.03 | 11.15 | 44 | 1.5 | 8.3 | 16.1 | 6.7 | 149 | 3 | 0.002 | 1134 | 1.3 | 1.3 | 15 | 53 | 0.4 | 4.5 | 8 | 2.19 | 2.5132 | 15.3676 | 2.7192
SWT | Jan | 2015 | 4 | 0.03 | 34 | 50 | 115 | 0.042 | 5.8 | 1 | 0.01 | 50 | 5.1 | 0.02 | 4.8 | 6.2 | 1 | 41.13 | 54.76 | 58.6 | 84.6 | 1.1 | 52.7 | 66.7 | 7.2 | 33 | 1.2 | 0.046 | 340 | 1.3 | 2.7 | 19.6 | 50 | 0.7 | 16.9 | 51 | 0.4 | 0.5715 | 2.6865 | 1.242
SWT | Feb | 2015 | 4 | 0.03 | 54 | 17 | 183 | 0.042 | 5.9 | 1 | 0.013 | 10 | 7.6 | 0.02 | 2.3 | 3.3 | 1 | 69.29 | 77.86 | 82.36 | 93.28 | 2.3 | 77.9 | 100.3 | 6.4 | 25 | 1.9 | 0.024 | 261 | 1 | 4.3 | 55.5 | 50 | 0.9 | 27.2 | 26 | 2.48 | 0.18898 | 1.4285 | 0.58256
SWT | March | 2015 | 4 | 0.03 | 38 | 22 | 133 | 0.173 | 5.9 | 1.77 | 0.01 | 10 | 5.4 | 0.04 | 3.6 | 4.8 | 1.77 | 63.14 | 74.3 | 77.56 | 91.67 | 4.9 | 73.1 | 75.8 | 6.1 | 30 | 1.3 | 0.023 | 390 | 1.2 | 2.8 | 37.9 | 50 | 0.7 | 20.8 | 24 | 4.32 | 0.53092 | 1.7118 | 0.35724
SWT | Apr | 2015 | 4 | 0.03 | 31 | 28 | 104 | 0.042 | 6.1 | 1 | 0.01 | 10 | 3.8 | 0.02 | 3.1 | 3.7 | 1 | 57.29 | 68.55 | 72.19 | 88.54 | 1.2 | 67.7 | 52.4 | 10.5 | 25 | 1 | 0.028 | 234 | 1 | 2 | 12.1 | 50 | 0.7 | 16.5 | 22 | 1.3 | 0.3672 | 2.4092 | 0.62356
SWT | May | 2015 | 4 | 0.03 | 28 | 50 | 88 | 0.048 | 6.1 | 1 | 0.01 | 10 | 2.9 | 0.02 | 5.3 | 5.6 | 1 | 39.54 | 53.18 | 57.43 | 80.83 | 1.1 | 53.1 | 40 |  | 31 | 0.9 | 0.011 | 324 | 0.5 | 1.7 | 9.3 | 50 | 0.6 | 14.8 | 10 | 1.62 | 0.8778 | 3.8148 | 0.8074
SWT | Jun | 2015 | 4 | 0.03 | 25 | 71 | 81 | 0.042 | 6 | 1 | 0.01 | 10 | 2.5 | 0.02 | 6.8 | 7 | 1 | 28.17 | 42.11 | 46.44 | 74.32 | 1 | 42.7 | 55.4 | 12.1 | 41 | 0.8 | 0.012 | 511 | 0.6 | 1.5 | 10.4 | 50 | 0.6 | 13.7 | 10 | 4.81 | 0.84755 | 4.3295 | 1.5236
SWT | Jul | 2015 | 5 | 0.03 | 20 | 127 | 65 | 0.042 | 6.2 | 1 | 0.01 | 10 | 1.9 | 0.02 | 10.2 | 10.8 | 1 | 12.06 | 23.53 | 27.73 | 60.6 | 1.3 | 23.4 | 56.9 | 13.5 | 63 | 0.7 | 0.009 | 703 | 0.6 | 1.2 | 12.3 | 50 | 0.4 | 11.2 | 7 | 11.37 | 1.3194 | 7.4634 | 1.5172
SWT | Aug | 2015 | 5 | 0.03 | 19 | 134 | 58 | 0.042 | 6.2 | 1 | 0.01 | 10 | 1.8 | 0.02 | 10 | 11.6 | 1 | 9.23 | 19.78 | 23.65 | 56.42 | 1.4 | 19.7 | 58.6 | 14.1 | 72 | 0.7 | 0.009 | 771 | 0.7 | 1.2 | 15.2 | 50 | 0.4 | 10.7 | 8 | 1.94 | 1.7601 | 8.2927 | 2.2472
SWT | Sep | 2015 | 6 | 0.03 | 19 | 144 | 64 | 1.152 | 6.1 | 1 | 0.01 | 10 | 2 | 0.02 | 10.9 | 30.2 | 1 | 9.74 | 20.84 | 24.86 | 58.02 | 18.2 | 20.8 | 68.4 | 12.7 | 202 | 0.9 | 0.019 | 4685 | 3.2 | 1.3 | 327.2 | 61 | 0.4 | 10.5 | 13 | 8.2 | 1.2601 | 8.8733 | 1.5666
SWT | Oct | 2015 | 5 | 0.03 | 21 | 153 | 68 | 0.042 | 6.6 | 1 | 0.01 | 10 | 2.1 | 0.02 | 13.7 | 13.3 | 1 | 6.88 | 16.83 | 20.37 | 53.3 | 2.3 |  | 57.1 | 8.6 | 83 | 0.8 | 0.006 | 1192 | 0.6 | 1.4 | 8.1 | 50 | 0.4 | 11.5 | 4 | 1.7 | 1.8786 | 8.4494 | 2.072
SWT | Nov | 2014 | 4 | 0.03 | 15 | 23 | 54 | 0.042 | 6.1 | 1 | 0.01 | 50 | 2.7 | 0.02 | 10.7 | 10 | 1 | 14.55 | 28.9 | 32.01 | 63.43 | 1.5 | 28.9 | 36.8 | 7.2 | 56 | 0.7 | 0.015 | 643 | 0.6 | 1.1 | 8 | 50 | 0.5 | 8.8 | 9 | 1.45 | 0.2828 | 8.3325 | 1.4847
SWT | Dec | 2014 | 4 | 0.03 | 31 | 71 | 107 |  | 5.9 | 1 | 0.01 | 50 | 4.9 | 0.02 | 7.2 | 8.8 | 1 | 29.17 | 44.04 | 49.24 | 74.92 | 2.7 | 43.2 |  | 4.9 | 49 | 1.2 | 0.015 | 544 | 1 | 2.7 | 24.6 | 50 | 0.7 | 16.4 | 13 | 5.05 | 0.5628 | 4.7771 | 1.3601
FWT | Jan | 2015 | 41 | 0.03 | 50 | 45 | 270 | 0.193 | 7.3 | 22.84 | 0.018 | 59 | 18.8 | 0.46 | 5.9 | 7.6 | 22.87 | 1.6 | 51.73 | 55.46 | 81 | 59.3 |  | 133.1 | 3.3 | 2893 | 19.3 | 0.013 | 9745 | 7.1 | 7 | 1237.3 | 595 | 3.7 | 29.1 | 43 | 26.44 | 1.1232 | 4.5 | 1.5768
FWT | Feb | 2015 | 43 | 0.03 | 44 | 33 | 258 | 0.088 | 7.6 | 23.05 | 0.025 | 33 | 17.5 | 0.47 | 4.9 | 4.9 | 23.09 | 1.94 | 59.94 | 64.69 | 86.17 | 6.3 |  | 133.6 | 5.4 | 294 | 17.9 | 0.003 | 642 | 0.4 | 6.4 | 30.9 | 68 | 3.2 | 25.9 | 5 | 8.62 | 0.78546 | 3.728 | 0.78652
FWT | March | 2015 | 44 | 0.04 | 42 | 28 | 251 | 0.063 | 7.4 | 23.35 | 0.041 | 30 | 17.8 | 0.48 | 4.1 | 4.2 | 23.4 | 1.86 | 63.07 | 68.02 | 87.54 | 3.3 |  | 134.7 | 8.6 | 89 | 18.6 | 0.003 | 479 | 0.2 | 6.6 | 24.2 | 54 | 2.9 | 24.5 | 4 | 2.03 | 0.7713 | 2.9223 | 0.8064
FWT | Apr | 2015 | 52 | 0.04 | 40 | 20 | 256 | 0.085 | 8.4 | 19.44 | 0.038 | 10 | 18.1 | 0.4 | 3.7 | 4.1 | 19.49 | 3.11 | 70.9 | 75.05 | 91.14 | 2.2 | 70.2 | 134.6 | 12.1 | 41 | 18.9 | 0.001 | 304 | 0.2 | 6.7 | 27.8 | 50 | 2.5 | 24.3 | 2 | 41 | 0.9963 | 2.0287 | 1.075
FWT | May | 2015 | 47 | 0.06 | 38 | 47 | 247 | 0.061 | 7.6 | 18.04 | 0.053 | 20 | 17.5 | 0.38 | 6.5 | 6.8 | 18.12 | 2.4 | 50.62 | 55.84 | 81.71 | 1.3 | 50.5 | 112.5 | 13.4 | 35 | 18.7 | 0.003 | 382 | 0.3 | 6.5 | 13.6 | 50 | 2.6 | 23.5 | 3 | 11.08 | 1.0039 | 3.995 | 1.6012
FWT | Jun | 2015 | 52 | 0.03 | 39 | 28 | 253 | 0.072 | 7.6 | 20.56 | 0.037 | 36 | 18.4 | 0.42 | 4.2 | 4.4 | 20.61 | 3.1 | 64.74 | 69.29 | 88.29 | 1 | 64.6 | 119.4 | 14 | 35 | 19.5 | 0.002 | 355 | 0.2 | 6.9 | 19.2 | 50 | 2.4 | 24 | 2 | 3.39 | 0.98642 | 2.4329 | 0.88064
FWT | Aug | 2015 | 50 | 0.07 | 37 | 98 | 233 | 0.134 | 7.3 | 12.23 | 0.049 | 48 | 18.1 | 0.26 | 11.9 | 12.5 | 12.3 | 1.44 | 24.71 | 29.72 | 64.13 | 4.1 | 25.1 | 117.5 | 16 | 108 | 17.7 | 0.004 | 783 | 0.4 | 6 | 26.8 | 96 | 3.5 | 21.9 | 3 | 10.56 | 1.8216 | 7.7616 | 2.418
FWT | Sep | 2015 | 55 | 0.03 | 38 | 74 | 248 | 0.087 | 7.4 | 16.78 | 0.052 | 61 | 18.9 | 0.35 | 8.8 | 8.7 | 16.85 | 2.01 | 37.28 | 42.59 | 73.28 | 4 | 35.2 | 134.2 | 14 | 90 | 19.1 | 0.003 | 842 | 0.3 | 6.4 | 24.6 | 95 | 3.5 | 23.8 | 3 | 4.57 | 1.4325 | 4.4444 | 2.3231
FWT | Oct | 2015 | 46 | 0.03 | 35 | 94 | 219 | 0.086 | 7.4 | 16.19 | 0.041 | 59 | 8.7 | 0.34 | 12 | 11.7 | 16.24 | 1.23 | 25.69 | 30.89 | 64.46 | 10.5 |  | 114.1 | 10.1 | 359 | 1.6 | 0.004 | 570 | 0.7 | 0.8 | 38.1 | 110 | 0.5 | 2 | 5 | 3.87 | 1.5794 | 7.2104 | 2.1102
FWT | Nov | 2014 | 42 | 0.03 | 35 | 82 | 221 | 0.1 | 7.4 | 19.1 | 0.032 | 99 | 17.4 | 0.39 | 13.7 | 27.8 | 19.14 | 0.92 | 27.89 | 34.46 | 66.78 | 49.9 | 27.6 | 110.2 | 9.7 | 718 | 19.3 | 0.004 | 12450 | 2 | 6.8 | 1733 | 662 | 4.5 | 20.7 | 14 | 35.27 | 3.813 | 6.9126 | 1.5744
FWT | Dec | 2014 | 40 | 0.03 | 46 | 56 | 269 |  | 7.4 | 22.52 | 0.056 | 63 | 17.6 | 0.47 | 7 | 13.6 | 22.59 | 1.36 | 45.18 | 48.52 | 78 | 8.4 | 42.5 |  | 5.3 | 1140 | 17.6 | 0.006 | 4536 | 3.1 | 6.1 | 317.5 | 228 | 3.7 | 28.8 | 16 | 9.01 | 4.2891 | 3.4887 | 0.9135
BWT | Jan | 2015 | 44 | 0.03 | 33 | 14 | 164 | 0.042 | 7.8 | 1 | 0.01 | 50 | 5.5 | 0.02 | 1.7 | 1.7 | 1 | 72.05 | 82.12 | 84.65 | 93.89 | 0.3 | 82.1 | 65.3 | 6.7 | 11 | 14.7 | 0.001 | 57 | 0.2 | 3.6 | 12 | 50 | 0.6 | 15.4 | 2 | 1.48 | 0.2461 | 1.6514 | 0.4025
BWT | Feb | 2015 | 31 | 0.03 | 22 | 19 | 115 | 0.062 | 7.6 | 1 | 0.01 | 10 | 3.8 | 0.02 | 2.1 | 2.2 | 1 | 61.26 | 78.3 | 81 | 92.53 | 0.4 |  | 34.1 | 5.6 | 25 | 9.6 | 0.001 | 79 | 0.2 | 2.2 | 13.1 | 50 | 0.4 | 12.1 | 2 | 0.4 | 0.7164 | 3.3098 | 0.47385
BWT | March | 2015 | 42 | 0.03 | 30 | 11 | 158 | 0.042 | 7.8 | 1 | 0.01 | 10 | 4.9 | 0.02 | 1.6 | 1.6 | 1 | 75.86 | 85.5 | 87.6 | 95.35 | 0.3 | 84.5 | 54 | 4 | 9 | 14.9 | 0.004 | 62 | 0.2 | 3.3 | 6.8 | 50 | 0.5 | 14.7 | 3 | 1.42 | 0.38522 | 1.0395 | 0.27506
BWT | Apr | 2015 | 31 | 0.03 | 25 | 17 | 125 | 0.042 | 7.6 | 1 | 0.01 | 10 | 4 | 0.02 | 2.6 | 2.6 | 1 | 67.69 | 78.23 | 80.85 | 92.6 | 0.4 | 76 | 42.7 | 7.7 | 17 | 10.5 | 0.001 | 67 | 0.2 | 2.4 | 8.3 | 50 | 0.5 | 12.9 | 3 | 3.66 | 0.48256 | 1.9436 | 0.47386
BWT | May | 2015 | 42 | 0.03 | 22 | 23 | 126 | 0.042 | 7.7 | 1 | 0.01 | 10 | 3.4 | 0.02 | 3 | 3.1 | 1 | 60.12 | 72.25 | 75.51 | 90.3 | 0.2 | 72.2 | 28.3 | 9 | 13 | 12.5 | 0.001 | 98 | 0.2 | 2.4 | 6.2 | 50 | 0.4 | 11.1 | 5 | 0.93 | 0.61908 | 2.1226 | 0.55836
BWT | Jun | 2015 | 48 | 0.03 | 17 | 39 | 116 | 0.042 | 7.8 | 1 | 0.01 | 10 | 3.1 | 0.02 | 4.8 | 4.9 | 1 | 45.63 | 60.44 | 64.2 | 84.59 | 0.3 | 60.6 | 31 | 11.4 | 23 | 13.8 | 0.001 | 153 | 0.2 | 2.4 | 5.8 | 50 | 0.3 | 10 | 4 | 1.49 | 0.39809 | 3.2703 | 1.0316
BWT | Aug | 2015 | 41 | 0.03 | 11 | 76 | 96 | 0.042 | 7.7 | 1 | 0.01 | 10 | 2.4 | 0.02 | 7.6 | 7.5 | 1 | 24.09 | 39.85 | 44.24 | 72.79 | 1.5 |  | 43.1 | 12.7 | 49 | 12.2 | 0.002 | 300 | 0.2 | 2.1 | 9.9 | 50 | 0.2 | 7.7 | 6 | 0.4 | 0.83694 | 5.51 | 1.0523
BWT | Sep | 2015 | 61 | 0.06 | 14 | 44 | 121 | 0.043 | 7.8 | 1 | 0.01 | 10 | 3 | 0.02 | 5.2 | 5.3 | 1 | 39.85 | 54.88 | 58.56 | 82.18 | 0.7 | 54.5 | 72.4 | 11 | 28 | 15.7 | 0.002 | 224 | 0.2 | 2.5 | 15.1 | 50 | 0.3 | 8.7 | 9 | 2.11 | 1.1025 | 4.187 | 1.0105
BWT | Oct | 2015 | 42 | 0.03 | 14 | 47 | 97 | 0.042 | 7.6 | 1 | 0.01 | 10 | 2.8 | 0.02 | 5.8 | 5.7 | 1 | 82.53 | 91.24 | 93.28 | 98.03 | 0.4 |  | 35.2 | 9.3 | 29 | 11.7 | 0.001 | 158 | 0.2 | 2 | 12.1 | 50 | 0.4 | 8.5 | 3 | 1.12 | 1.0547 | 3.7338 | 1.3115
BWT | Nov | 2014 | 57 | 0.07 | 8 | 34 | 108 | 0.042 | 7.6 | 1 | 0.01 | 50 | 2.3 | 0.02 | 3.9 | 3.9 | 1 | 50.29 | 64.14 | 68.5 | 86.28 | 0.4 | 64 | 33.8 | 6.9 | 23 | 15.2 | 0.001 | 176 | 0.2 | 2.3 | 3.9 | 50 | 0.4 | 6.8 | 2 | 0.65 | 0.4251 | 2.6052 | 0.8697
BWT | Dec | 2014 | 33 | 0.03 | 24 | 27 | 121 | 0.0124 | 7.6 | 1 | 0.01 | 50 | 4.2 | 0.02 | 3.1 | 3.3 | 1 | 46.81 | 70.45 | 60.2 | 90.73 | 0.6 | 71.6 | 60.4 | 3.4 | 26 | 10.6 | 0.001 | 100 | 0.2 | 2.7 | 12 | 50 | 0.5 | 11.4 | 2 | 0.75 | 0.5076 | 2.4624 | 0.63
GWT | Jan | 2015 | 30 | 0.03 | 69 | 23 | 255 | 0.063 | 7.4 | 1.03 | 0.01 | 132 | 12.2 | 0.02 | 0.8 | 4.6 | 1.03 | 40.93 | 63.35 | 68.75 | 89.45 | 0.9 |  | 192.4 | 3.6 | 20 | 12.2 | 0.002 | 141 | 0.2 | 5.4 | 6.3 | 624 | 3.5 | 34.8 | 3 | 4.97 | 0.9537 | 2.7795 | 1.3668
GWT | Feb | 2015 | 33 | 0.03 | 63 | 20 | 249 | 0.068 | 7.6 | 1 | 0.01 | 82 | 10.5 | 0.02 | 4.1 | 4.3 | 1 | 52.34 | 67.25 | 71.74 | 90.87 | 1.1 |  | 188.3 | 5.3 | 15 | 12.1 | 0.001 | 124 | 0.2 | 5 | 16.2 | 348 | 3.1 | 31.9 | 2 | 5.92 | 1.6282 | 3.9409 | 0.9308
GWT | March | 2015 | 31 | 0.03 | 61 | 20 | 244 | 0.091 | 7.5 | 1 | 0.01 | 10 | 9.7 | 0.02 | 4.3 | 4.4 | 1 | 53.61 | 67.27 | 71.79 | 90.8 | 0.8 | 67.3 | 163.7 | 6.5 | 12 | 12.2 | 0.001 | 97 | 0.2 | 4.9 | 14.1 | 50 | 2.9 | 31 | 3 | 14.3 | 0.71852 | 3.0737 | 0.80776
GWT | Apr | 2015 | 40 | 0.03 | 60 | 17 | 247 | 0.042 | 7.6 | 1 | 0.01 | 323 | 8.4 | 0.02 |  |  | 1 | 53.75 | 67.68 | 72.21 | 91.89 | 1.3 | 67.2 | 159.6 | 13.7 | 9 | 13.8 | 0.001 | 103 | 0.2 | 5.2 | 90.2 | 775 | 2.6 | 32.5 | 2 | 13.41 | 0.99078 | 2.8552 | 1.0545
GWT | May | 2015 | 43 | 0.03 | 63 | 19 | 240 | 0.042 | 7.6 | 1 | 0.01 | 143 | 6.5 | 0.02 | 5.2 | 5.4 | 1 | 51.74 | 66.2 | 70.93 | 91.31 | 0.8 | 66.3 | 153 | 13.7 | 9 | 13.5 | 0.003 | 203 | 0.3 | 4.9 | 44.9 | 470 | 2.1 | 29.9 | 5 | 1.67 | 1.3881 | 2.6071 | 1.3049
GWT | Jun | 2015 | 43 | 0.03 | 60 | 21 | 241 | 0.057 | 7.6 | 1 | 0.01 | 142 | 5 | 0.02 | 5.4 | 5.7 | 1 | 48.27 | 63.37 | 68.03 | 89.83 | 0.9 | 64.5 | 177.4 | 15.9 | 9 | 14.3 | 0.001 | 391 | 0.2 | 5.2 | 83.7 | 493 | 2 | 32.1 | 3 | 2.18 | 1.3636 | 3.113 | 1.1234
GWT | Jul | 2015 | 45 | 0.05 | 57 | 33 | 226 | 0.052 | 7.5 | 1 | 0.01 | 290 | 3.5 | 0.02 | 7.3 | 7.1 | 1 | 37.64 | 53.19 | 58.32 | 84.87 | 1.4 | 53.9 | 187.1 | 15.2 | 9 | 14.6 | 0.002 | 817 | 0.2 | 5.1 | 69.9 | 454 | 1.9 | 29.9 | 4 | 11.06 | 1.5563 | 3.4742 | 1.5695
GWT | Aug | 2015 | 54 | 0.03 | 59 | 35 | 232 | 0.053 | 7.5 | 1 | 0.01 | 183 | 3.2 | 0.02 | 6.3 | 7 | 1 | 25.96 | 41.31 | 46.13 | 73.43 | 1.4 |  | 180 | 17.1 | 9 | 15 | 0.002 | 736 | 0.2 | 5.2 | 125.4 | 440 | 1.8 | 29.2 | 9 | 6.65 | 1.5925 | 3.8219 | 1.4856
GWT | Sep | 2015 | 55 | 0.03 | 57 | 50 | 231 | 0.084 | 7.5 | 1 | 0.01 | 298 | 3.3 | 0.02 | 6.7 | 6.8 | 1 | 43.47 | 60.13 | 64.82 | 90.09 | 1.1 |  | 201.9 | 12.4 | 9 | 14.5 | 0.001 | 273 | 0.2 | 5.3 | 52.6 | 440 | 1.6 | 29.2 | 2 | 2.4 | 1.9841 | 3.0886 | 2.2272
GWT | Oct | 2015 | 54 | 0.03 | 53 | 16 | 246 | 0.056 | 7.6 | 1 | 0.01 | 210 | 3.4 | 0.02 | 6.1 | 6.4 | 1 | 48.47 | 64.58 | 69.32 | 92.08 | 1.2 |  | 182.1 | 10.6 | 9 | 15.2 | 0.001 | 231 | 0.2 | 5.5 | 31.8 | 526 | 1.5 | 30 | 3 | 2.38 | 1.4508 | 2.9903 | 1.7583
GWT | Nov | 2015 | 32 | 0.03 | 49 | 44 | 201 | 0.053 | 7.4 | 1 | 0.01 | 172 | 8.4 | 0.02 | 8 | 8.1 | 1 | 27.86 | 46.65 | 51.73 | 80.74 | 1 | 46.6 | 143.5 | 7.2 | 28 | 11 | 0.002 | 241 | 0.2 | 4.3 | 6.1 | 702 | 3.7 | 26.4 | 3 | 2.41 | 1.8518 | 4.4106 | 1.4376
GWT | Dec | 2015 | 31 | 0.03 | 48 | 41 | 194 | 0.042 | 7.4 | 1 | 0.01 | 147 | 8.7 | 0.02 | 6.6 | 6.5 | 1 | 28.54 | 48.42 | 53.48 | 81.79 | 0.7 | 48.6 | 151.6 | 6.2 | 29 | 10.6 | 0.002 | 209 | 0.2 | 4 | 6.5 | 617 | 3.4 | 25.8 | 4 | 0.4 | 1.2131 | 3.9983 | 1.3886

## Raw DOC Quality
site.name | month | year | HPI | HPO | TPI
|  |  | (%) | (%) | (%)
AWT | Jan | 2015 | 5.2 | 82 | 12.7
AWT | Feb | 2015 | 9.8 | 73.5 | 16.7
AWT | March | 2015 | 9.44 | 73.16 | 17.4
AWT | Apr | 2015 | 16.14 | 69.62 | 14.24
AWT | May | 2015 | 8.39 | 74.17 | 17.43
AWT | Jun | 2015 | 8.85 | 75.81 | 15.35
AWT | Aug | 2015 | 7.79 | 76.51 | 15.69
AWT | Sep | 2015 | 12.76 | 73.23 | 14.01
AWT | Oct | 2015 | 14.4 | 63.97 | 21.62
AWT | Nov | 2014 | 12.2 | 64.2 | 23.6
AWT | Dec | 2014 | 12.2 | 74.6 | 13.2
SWT | Jan | 2015 | 12.7 | 59.7 | 27.6
SWT | Feb | 2015 | 8.59 | 64.93 | 26.48
SWT | March | 2015 | 20.42 | 65.84 | 13.74
SWT | Apr | 2015 | 10.8 | 70.86 | 18.34
SWT | May | 2015 | 15.96 | 69.36 | 14.68
SWT | Jun | 2015 | 12.65 | 64.62 | 22.74
SWT | Jul | 2015 | 12.81 | 72.46 | 14.73
SWT | Aug | 2015 | 14.31 | 67.42 | 18.27
SWT | Sep | 2015 | 10.77 | 75.84 | 13.39
SWT | Oct | 2015 | 15.15 | 68.14 | 16.71
SWT | Nov | 2014 | 2.8 | 82.5 | 14.7
SWT | Dec | 2014 | 8.4 | 71.3 | 20.3
FWT | Jan | 2015 | 15.6 | 62.5 | 21.9
FWT | Feb | 2015 | 14.82 | 70.34 | 14.84
FWT | March | 2015 | 17.14 | 64.94 | 17.92
FWT | Apr | 2015 | 24.3 | 49.48 | 26.22
FWT | May | 2015 | 15.21 | 60.53 | 24.26
FWT | Jun | 2015 | 22.94 | 56.58 | 20.48
FWT | Aug | 2015 | 15.18 | 64.68 | 20.15
FWT | Sep | 2015 | 17.47 | 54.2 | 28.33
FWT | Oct | 2015 | 14.49 | 66.15 | 19.36
FWT | Nov | 2014 | 31 | 56.2 | 12.8
FWT | Dec | 2014 | 49.3 | 40.1 | 10.5
BWT | Jan | 2015 | 10.7 | 71.8 | 17.5
BWT | Feb | 2015 | 15.92 | 73.55 | 10.53
BWT | March | 2015 | 22.66 | 61.15 | 16.18
BWT | Apr | 2015 | 16.64 | 67.02 | 16.34
BWT | May | 2015 | 18.76 | 64.32 | 16.92
BWT | Jun | 2015 | 8.47 | 69.58 | 21.95
BWT | Aug | 2015 | 11.31 | 74.46 | 14.22
BWT | Sep | 2015 | 17.5 | 66.46 | 16.04
BWT | Oct | 2015 | 17.29 | 61.21 | 21.5
BWT | Nov | 2014 | 10.9 | 66.8 | 22.3
BWT | Dec | 2014 | 14.1 | 68.4 | 17.5
GWT | Jan | 2015 | 18.7 | 54.5 | 26.8
GWT | Feb | 2015 | 25.05 | 60.63 | 14.32
GWT | March | 2015 | 15.62 | 66.82 | 17.56
GWT | Apr | 2015 | 20.22 | 58.27 | 21.52
GWT | May | 2015 | 26.19 | 49.19 | 24.62
GWT | Jun | 2015 | 24.35 | 55.59 | 20.06
GWT | Jul | 2015 | 23.58 | 52.64 | 23.78
GWT | Aug | 2015 | 23.08 | 55.39 | 21.53
GWT | Sep | 2015 | 27.18 | 42.31 | 30.51
GWT | Oct | 2015 | 23.4 | 48.23 | 28.36
GWT | Nov | 2015 | 24.05 | 57.28 | 18.67
GWT | Dec | 2015 | 18.38 | 60.58 | 21.04